Quantitative Ultrasound-Based Assessment of Hepatic Steatosis in Paediatrics : A Scoping Review of Current Evidence

Paul Agad

Supervisé par Dr. Seema Toso

Table of Contents

Abstract	4

Introduction	4

Objective	4

Eligibility Criteria	4

Sources of Evidence	4

Charting Methods	4

Results	4

Conclusion	5

Introduction	6

Methods	8

Protocol and Registration	8

Research Question	8

Eligibility Criteria	9

Information Sources and Search Strategy	10

Selection of Sources of Evidence	11

Data Charting Process	11

Funding	12

This scoping review was performed without external funding. The research was conducted as part of a master’s thesis project at the University of Geneva/HUG, which provided access to database resources but had no role in study design, data ollection, data interpretation or manuscript preparation.	12

Results	13

Discussion	15

Limiations of the Review Process	16

Conclusion	20

Tables and Figures	21

Figure1: PRISMA Diagram	21

Table 2 : Inclusion & Exclusion criteria	22

Table 3. Literaure search	23

References :	26

## Abstract

### Introduction

Non-invasive ultrasound-based techniques are increasingly used for the assessment of hepatic steatosis in children, yet the diversity, validation level, and pediatric applicability of these tools remain poorly defined.

### Objective

To identify and map the existing quantitative ultrasound modalities used to assess hepatic steatosis in pediatric populations and describe their technical parameters, reference standards, diagnostic performance and feasibility.

### Eligibility Criteria

We included studies publisehd from January 2019 to May 2024 that : 1) involved pediatric participants (<18 years), 2) used a non-invasive ultrasound-based imaging modality developed to assess hepatic steatosis, and 3) reported a quantitative steatosis measurement. Studies focused solely on fibrosis or using qualitative ultrasound were excluded. Descriptive reviews, editorials, protocols, without originial data were excluded.

### Sources of Evidence

MEDLINE (via PubMed) and Embase were searched systematically. The grey literature was also searched via internet search engines. Reference lists of included studies were screened to identify additional sources.

### Charting Methods

Data were charted using a standardized form and included study characteristics, ultrasound modality, measurement parameters (units, thresholds, acquisition protocols), reference standards (e.g. MRI-PDFF, biopsy), diagnostic performance metrics, and feasibility indicaors. Results were synthesized descriptively and organized narratively.

### Results

A total of 20 studies met inclusion criteria. The Controlled Attenuation Parameter (CAP) was the most commonly reported tool (n=14). Only six studies used alternative quantitative methods : one used Ultrasound-Derived Fat Fraction (UDFF), two used Attenuation Imaging (AI) or equivalent attenuation coefficient mapping, one used ATT with Shear Wave Measurement (SWM), and two employed other QUS-based parameters. CAP was often used in studies primarily focused on liver fibrosis, with steatosis measured as a secondary endpoint. Alternatives such as UDFF and AI showed promising features, especially in terms of reproducibility and potential MRI correlation, but were underrepresented and lacked pediatric validation.

### Conclusion

Quantitative ultrasound modalities are increasing used to assess hepatic steatosis in children, but research is heavily concentrated on CAP. Emerging tools such as UDFF and ATI show strong potential yet remain underrepresentd and insufficiently validated. There is a pressing need for multicenter comparative studies and standardization efforts to validate these alternative modalities and develop pediatric-specific imaging strategies.

## Introduction

Non-alcoholic fatty liver disease (NAFLD), recently reframed as metabolic dysfunction-associated fatty liver disease (MAFLD), has emerged as the most common chronic liver disease in children and adolescents (Metabolic Fatty Liver Disease in Children: A Growing Public Health Problem ; MAFLD: A consensus-driven proposed nomenclature for metabolic associated fatty liver disease). Closely linked to the rise in childhood obesity, its prevalence is now estimated between 7% and 8% in the general pediatric population, and substantially higher among children with metabolic comorbidities (The Prevalence of Non-Alcoholic Fatty Liver Disease in Children and Adolescents: A Systematic Review and Meta-Analysis). Furthermore, early, straightforward detection of hepatic steatosis is critical, as the disease may remain silent while increasing the long-term risk of chronic diseases such as of type 2 diabetes, cardiovascular disease, and cirrhosis (Incidence of Type 2 Diabetes in Children With Nonalcoholic Fatty Liver Disease).

In the recent past, liver biopsy was the gold standard for diagnosing hepatic steatosis, yet its invasiveness, cost, and impracticality limit its use in routine care, particularly in children (Schwimmer JB et al. “Magnetic Resonance Imaging Predicts Histology in Pediatric Nonalcoholic Fatty Liver Disease.” Hepatology. 2015). Now, MRI-based techniques, such as proton density fat fraction (MRI-PDFF), offer reliable quantification but are often constrained by accessibility, sedation requirements, and limited availability in many pediatric centers (Noureddin M, Lam J et al. “Utility of MRI-PDFF for quantification of hepatic steatosis in children.” Journal of Pediatric Gastroenterology and Nutrition, 2020). Though ultrasound is used, radiologists relied on simple qualitative markers of liver echogenecity to identify steatosis (Ferraioli G & Soares Monteiro LB. “Ultrasound-based techniques for the diagnosis of liver steatosis.” World Journal of Gastroenterology, 2019). (expand this paragraph with examples from of studies from the literature)

In recent years, several studies have demonstrated the limitations of these modalities in pediatric populations. For example, Schwimmer et al. showed that although biopsy provides essential histological information, sampling variability may lead to misclassification of steatosis severity. MRI-PDFF has shown excellent correlation with histologic fat fraction (r > 0.9), as demonstrated by Noureddin et al., yet its clinical use remains restricted due to cost and the need for sedation in children under 8 years. Regarding ultrasound, Ferraioli and colleagues highlighted that traditional qualitative features—such as increased hepatic echogenicity relative to renal cortex, loss of visualization of portal vein walls, and posterior beam attenuation—show limited diagnostic accuracy, particularly for mild steatosis (<20%)

With more interest in identifying steatosis and a greater desire for more precise measurements that are practical in the pediatric population, more quantitative ultrasound (US)-based modalities have gained increasing interest as non-invasive, affordable, and widely available alternatives (Five steps to make MRI scanners more affordable to the world. Nature). Their potential is particularly appealing in pediatrics, where the anatomical conditions—such as thinner abdominal walls and less subcutaneous fat—often enhance ultrasound image quality. However, traditional B-mode ultrasound remains qualitative and operator-dependent, which limits its diagnostic reproducibility and clinical value (Real‑time ultrasound‑derived fat fraction in pediatric population: feasibility validation with MR‑PDFF).To address these limitations, several quantitative ultrasound (QUS) techniques have been developed, including the controlled attenuation parameter (CAP), ultrasound-derived fat fraction (UDFF), and attenuation imaging (ATI/TAI) (Quantitative ultrasound fatty liver evaluation in a pediatric population: comparison with magnetic resonance imaging of liver proton density fat fraction, Accuracy of controlled attenuation parameter compared with ultrasound for detecting hepatic steatosis in children with severe obesity, eal‑time ultrasound‑derived fat fraction in pediatric population: feasibility validation with MR‑PDFF, Accuracy of attenuation imaging in the assessment of pediatric hepatic steatosis: correlation with the controlled attenuation parameter). These technologies aim to provide objective, reproducible measurements of liver fat content (Quantitative ultrasound fatty liver evaluation in a pediatric population: comparison with magnetic resonance imaging of liver proton density fat fraction). Yet despite promising performance, their clinical implementation in pediatrics remains sparse (Clinical Performance of Transient Elastography With Comparison to Quantitative Magnetic Resonance Imaging, Ultrasound, and Biopsy in Children and Adolescents With Known or Suspected Fatty Liver Disease). The literature is characterized by heterogeneity in methodology, patient selection, equipment, and reference standards, making it difficult to compare results across studies or to derive normative values (Real‑time ultrasound‑derived fat fraction in pediatric population: feasibility validation with MR‑PDFF).

As with other innovations in imaging, such as the integration of artificial intelligence, adopting new QUS tools into daily practice requires overcoming clinical inertia, rethinking training, and diagnostic reasoning.The goal of this project is to systematically identify and map all quantitative ultrasound–based modalities used to evaluate hepatic steatosis in pediatric patients by conducting a scoping review of the literature. Specifically, this work seeks to describe the technical characteristics of each modality, their reference standards, diagnostic accuracy, and clinical feasibility across pediatric settings. The central question guiding this review is the following: “Which quantitative ultrasound techniques have been applied to assess hepatic steatosis in children, and what evidence exists regarding their performance, methodological robustness, and potential for integration into routine clinical practice?” By consolidating the available data and highlighting gaps in knowledge, this project aims to support future research directions and contribute to the development of practical, standardized imaging approaches for pediatric fatty liver disease.

Write a paragraph on what we want to do…eg The goal of this project is to ……The question we would like to answer is the following : ‘ sssss’. The goal of this project is to identify and map all quanitative ultrasound-based modalities used to assess hepatic steatosis in pediatric patients by conducting a scoping review of the literature.

## Methods

### Protocol and Registration

No formal protocol was registred for this scoping review as this was a student-based project. The review methodology was conducted in accordance with the PRISMA-ScR (Preferred Reporting Items for Systematic Reviews and Meta-Analyses extension for Scoping Reviews) guidelines, following the methodological framework proposed by Arksey and O’Malley (Tricco AC, Lillie E, Zarin W, et al. PRISMA Extension for Scoping Reviews (PRISMA-ScR): Checklist and Explanation, Arksey H, O’Malley L. Scoping studies: towards a methodological framework). The five stages of the review included: (1) identifying the research question; (2) identifying relevant studies; (3) selecting studies; (4) charting the data; and (5) collating, summarizing, and reporting the results. The study selection process is illustrated using a PRISMA flow diagram (Figure 1).

### Research Question

This scoping review aimed to answer the following question: What is the current evidence on the use of quantitative ultrasound-based techniques for assessing hepatic steatosis in the pediatric population, and what are their technical characteristics, feasibility, and diagnostic validity? The research question was structured using the PICO framework, which is summarized in Table 1.

The research question for this scoping review was developed using the PICO framework to ensure a structured and transparent approach to evidence mapping. The population of interest included children and adolescents (0–18 years) with suspected or confirmed hepatic steatosis. The intervention focused on non-invasive quantitative ultrasound modalities, and the comparator consisted of established reference standards such as MRI-PDFF or liver biopsy. Defining these elements a priori ensured that the review comprehensively captured all relevant studies assessing QUS techniques in pediatric populations.

Outcomes were broadly defined to reflect the exploratory purpose of a scoping review. Eligible studies included those reporting on the diagnostic performance of QUS techniques, their ability to quantify hepatic fat using quantitative parameters, or their utility in assessing disease severity relative to clinical, biochemical, or histological indicators. This outcome structure allowed the review to map how quantitative ultrasound is currently applied in pediatric practice and to identify gaps requiring further investigation

Table 1 : Population, intervention, comparator, outcome (PICO) framework.

| PICO | Detail |
| --- | --- |
| Population | Children with NASH/NAFDL suspicion or comfirmed between 0-18 |
| Intervention | Use of non invasive imaging such as echography |
| Comparator | Comparison with reference imaging techniques such as MRI with proton density fat fraction (PDFF) or liver biopsy. |
| Outcome | Primary outcome : Outcome 1 : Detection of hepatic steatosis by ultrasound - measurement of sensitivity, specificity and correlation with biopsy. Outcome 2 : Quantification of hepatic steatosis - using quantitative parameters (e.g. hepatic/renal ratio, attenuation in dB/cm) and correlation with percentage of hepatic fat. Outcome 3 : Assessement of NASH/NAFLD severity - performance of US to differentiate disease stages and concordance with clinical/biological scores or histological findings. |

### Eligibility Criteria

Studies were considered eligible if they met the following criteria :

- Population Pediatric patients (<18years). Studies including participants up to 21 years were retained if primarily pediatric-focused, reflecting real-world practice in centers managing adolescents/young adults with chronic conditions (e.g., NAFLD/MAFLD) under pediatric care.

- Concept: Non-invasive ultrasound-based imaging modalities specifically developed for quantitative assessment of hepatic steatosis were included. These comprise, but are not limited to : CAP, UDFF, ATI and QUS.

- Context : Studies focused on NASH/NAFLD/MAFLD, with the primary purpose of quantifying and/or screening for the disease.

- Outcomes : Articles must include a quantitative measurement of hepatic steatosis performed by ultrasound. Studies that only assessed liver fibrosis or did not report any specific steatosis measurement were excluded.

- Study type and timeframe : Articles from January 2019 to May 2024, as these techniques are relatively new and little literature is avaiable prior to 2019. Duplicated records were identified before screening.

- Language : No language restrictions were applied during the search phase ; but were excluded in title and abstract search.

Studies were excluded if the :

- Included predominantly adult participants (>18 years) or courses comprised of mixed-aged groups without subgroup analysis.

- Did not using an ultrasound-based imaging technique.

- Did not include any quantitative measurement of hepatic steatosis (e.g., studies focusing solely on fibrosis or qualitative ultrasound assessment).

- Were descriptive article, literature reviews and methodological article (such as guideline recommendations, or protocols)

No language barriers were imposed to minimize selection bias.

The decision not to analyze studies focused solely on the Controlled Attenuation Parameter (CAP) in detail was driven by methodological considerations rather than arbitrary choices. During the study selection process, the vast majority of eligible articles on non-invasive quantitative assessment of pediatric hepatic steatosis centered exclusively on CAP. CAP has been the subject of several meta-analyses and pediatric-specific systematic reviews, which have confirmed its diagnostic performance but also highlighted its limitations. For instance, an individual patient data meta-analysis (Petroff et al., 2021) demonstrated that CAP shows good correlation with histological steatosis (area under the curve [AUC] > 0.80), but its sensitivity decreases for mild steatosis (<10% hepatic fat), particularly in children with a high body mass index (BMI) or advanced fibrosis. Furthermore, optimal thresholds for pediatric populations remain debated, with significant variations across studies (e.g., 225–248 dB/m for steatosis ≥5%). While these findings underscore the need for standardization, they do not challenge CAP’s status as a reference modality.

However, the dominance of CAP in the pediatric literature (14 out of the 20 studies included in this review) obscures the development of alternative tools that may be better suited to pediatric specificities. For example, techniques such as Ultrasound-Derived Fat Fraction (UDFF) or Attenuation Imaging (ATI) provide a direct measurement of hepatic fat fraction (in %) or a physical attenuation coefficient (in dB/cm/MHz), with promising correlations to MRI-PDFF (intraclass correlation coefficient [ICC] > 0.90 for UDFF). Although these modalities are less studied, they may overcome some of CAP’s limitations, such as operator dependency and inter-equipment variability. By focusing our analysis on these emerging tools, this review aims to address a critical gap in the literature and encourage multicenter comparative studies to validate their clinical utility in pediatrics.

### Information Sources and Search Strategy

A systematic search of MEDLINE (via Pubmed) and Embase was conducted to identify relevant studies. Both databases were searched from 1 January 2019 to 31 May 2024 to capture the most recent and clinical relevant advances. The final search was executed on 12 June 2024. No language restrictions were applied during the search phase. Reference lists of included studies were maually screened.

Search Strategy

The search strategy combined keywords and controlled vocabulary (MeSH and Emtree terms) related to hepatic steatosis, pediatrics and quantitative ultrasound. An example of the full electronic search strategy in Pubmed is as follows :

("fatty liver"[MeSH Terms] OR "steatosis" OR "NAFLD" OR "MAFLD" OR "hepatic steatosis")

AND

("ultrasound" OR "sonography" OR "quantitative ultrasound" OR "controlled attenuation parameter" OR "CAP" OR "UDFF" OR "attenuation imaging" OR "ATI" OR "TAI")

AND

("child"[MeSH Terms] OR "children" OR "adolescent" OR "pediatric" OR "paediatric")

AND

("2019/01/01"[Date - Publication] : "2024/05/31"[Date - Publication])

This search strategy was adapted for Embase.

### Selection of Sources of Evidence

All identified references were imported into Zotero for management and de-duplication. After removal of duplicates (48), the remaining citations were screened in two stages. Title and abstract screening was conducted by a single reviewer (PA) using the predefined eligibility criteria. Articles that appeared relevent or unclear were retrieved for full text review. Full-text screening was also performed by the same reviewer and verified by a second reviewer (ST). Reasons for exclusion at this stage were recorded (eg. adult population, qualitative ultrasound only, fibrosis-focused without steatosis measurement, descriptive review or protocol). The selection process is summarized in a PRISMA-ScR flow diagram (Figure 1).

Disagreements were resolved by consensus.

Figure1: PRISMA Diagram

### Data Charting Process

A standardized data extraction form was developed in Microsoft Word. The form was tested on certain included studies to ensure clarity. Data charting was conducted manually by one reviewers (PA) and reviewed by the second reviewer (ST) using a structured table in Microsoft Word with the following variables :

- Study characteristics (author, year, country, design, sample size, age)

- Ultrasound modality and manufacturere

- Measurement parameters ( attenuation coefficient, etc)

- Unit of measurement (dB/cm/mHz, %, ratio, kPa)

- Acquisition protocols (eg. ROI placement, number of measurements)

- Reference standards (MRI-PDFF, biopsy, biomarkers)

- Cutoff values for normal/abnormal (numeric and units)

Feasiblity and reproducibility (technical failure rate, inter-intra-operator reliability)

The extracted information is synthesized in Table 3.

Synthesis of Results

This review did not include critical appraisal of the included studies, consistent with scoping review methodology (PRISMA Extension for Scoping Reviews (PRISMA-ScR): checklist and explanation. Ann Intern Med). The results were synthesized descriptively and organized narratively. Tables were used to present the distribution of techniques, technical specifications, validation methods, population characteristics, and comparators. Emphasis was placed on summarizing the variety of quantitative ultrasound modalities, their feasibility, and their methodological heterogeneity.

## Funding

## This scoping review was performed without external funding. The research was conducted as part of a master’s thesis project at the University of Geneva/HUG, which provided access to database resources but had no role in study design, data ollection, data interpretation or manuscript preparation.

## Results

All identified references (n = 418) were imported into Zotero for management and de-duplication. A total of 48 duplicates records were removed, and 95 articles were excluded for being published before 2019. The remaining 275 records were screened by title and abstract. Among them, 81 were excluded based on title, 71 for being non-pediatric, 40 for not using ultrasound techniques, and 5 were identified as editorials or corrections.

The remaining 78 full-text articles were assessed for eligibility. Of the 78 accessible articles, 39 were excluded for not using quantitative ultrasound techniques 8 were descriptive reviews. One study couldn’t be found, wo were descriptive article and 8 contains only fibroses measure and no steatosis measure. After this sélection, 20 articles were included in the final analysis. The selection process is summarized in Figure 1 (PRISMA flow diagram).

Among the 20 articles included in this review, six studies employed ultrasound-based quantitative modalities other than the Controlled Attenuation Parameter (CAP). These studies investigated tools such as Attenuation Imaging (ATI), Ultrasound-Derived Fat Fraction (UDFF), Quantitative Ultrasound (QUS), and Attenuation (ATT) with Shear Wave Measurement (SWM). While some were exclusively focused on hepatic steatosis, others also explored fibrosis. A detailed synthesis of these six studies is presented in Table 3.

One study assessed the use of ATT and SWM in 62 children with Wilson’s disease, reporting diagnostic performance for steatosis with an AUC ranging from 0.714 to 0.867 depending on the biological reference standards. Although the primary focus was liver involvement in Wilson’s disease, not NAFLD, this study demonstrated the feasibility of ATT (cut-off 0.73 dB/cm/MHz, sensitivity ~89%) for assessing steatosis in a pediatric setting. The study jointly addressed the quantification of steatosis and fibrosis, comparing several combinations of non-invasive tools.

Two prospective studies evaluated Attenuation Imaging (ATI). The first involved 111 children (ages 6–17), reporting AUCs of 0.853 to 0.909 and ATI cutoffs of 0.59 to 0.69 dB/cm/MHz for mild and moderate-to-severe steatosis, respectively. This study included 20 patients with MRI-PDFF, showing strong correlation (OR=22.09), although technical failure occurred in 20.7% of cases, mostly in younger or leaner children. The second ATI-based study included 174 children (Argentina), finding excellent inter-operator reproducibility (ICC = 0.94), with median ATI values significantly higher in children at risk (0.64 vs 0.54 dB/cm/MHz). Both ATI studies focused solely on steatosis.

Two articles used QUS-based methods. The first employed envelope statistics (Nakagami, Homodyned-K, entropy) in 173 children, achieving high AUCs (>0.90) for distinguishing grades of steatosis and moderate accuracy for fibrosis detection (AUC ~0.82), using transient elastography and biological markers as references. The second compared QUS parameters, including hepato-renal index (HRI), with MRI-PDFF, finding moderate to high correlation (HRI AUC ~0.80), and improved performance when combined with BMI percentile and echogenicity (AUC up to 0.92). These studies addressed both steatosis and fibrosis.

Lastly, one study investigated UDFF in 46 children and adolescents (7–18 years), validating this technique against MRI-PDFF. The results showed excellent correlation (ICC = 0.92), with an AUC of 0.95 for detecting steatosis ≥6%, using a cutoff of 6% (sensitivity = 90%, specificity = 94%). This was the only included study focused on UDFF, entirely dedicated to pediatric steatosis.

Overall, these six studies highlight emerging ultrasound techniques with promising diagnostic accuracy for pediatric hepatic steatosis. However, their use remains limited in scope, with scarce multicenter validation and few direct comparisons against CAP.

## Discussion

This scoping review identified 20 eligible studies on the use of quantitative ultrasound tools to assess hepatic steatosis in pediatric populations. The majority (n = 14) relied exclusively on the Controlled Attenuation Parameter (CAP), while only six explored alternative methods such as Ultrasound-Derived Fat Fraction (UDFF), Attenuation Imaging (ATI), Attenuation (ATT) combined with Shear Wave Measurement (SWM), or other QUS-based approaches.

The dominance of CAP reflects its clinical accessibility, widespread integration in FibroScan® devices, and the familiarity of hepatologists with its use. However, several limitations should be acknowledged. CAP is often used in studies primarily focused on liver fibrosis, where steatosis is a secondary outcome. Furthermore, its sensitivity for detecting mild steatosis is debated, and optimal thresholds for children are not standardized (Assessment of hepatic steatosis by controlled attenuation parameter using the M and XL probes: an individual patient data meta-analysis.).

In contrast, the underrepresentation of alternative tools highlights a significant gap in the pediatric literature. UDFF, in particular, offers promising results due to its direct estimation of hepatic fat fraction (%) and its strong correlation with MRI-PDFF. However, its availability is currently limited to Siemens ultrasound systems, and pediatric-specific data remain scarce. ATI, available on several platforms, provides a direct physical attenuation coefficient and has shown higher sensitivity in early steatosis stages, but is still under-investigated in pediatrics.

ATT and SWM, used together in a dual-assessment protocol, provide simultaneous insight into steatosis and fibrosis. Though promising, the evidence is currently limited to a single study in a disease-specific population (Wilson’s disease). Other QUS techniques, such as envelope statistics or hepato-renal index analysis, provide interesting theoretical potential, but require standardization and validation.

Overall, this review underscores the over-concentration of pediatric research on CAP, with limited exploration of newer ultrasound technologies. Notably, CAP is often embedded within fibrosis-oriented protocols, potentially diluting its relevance in pediatric populations, particularly those with isolated or early-stage steatosis (AASLD practice guideline on imaging-based noninvasive liver disease assessment of hepatic fibrosis and steatosis). Conversely, UDFF, ATI, ATT, and QUS are designed with fat quantification as a primary outcome, making them potentially more suitable for non-fibrotic pediatric patients.

Rather than concluding on the superiority of one tool, this review maps the blind spots in the literature and calls for prospective, comparative, multicentric pediatric studies, involving validation against MRI-PDFF, and age-/BMI-specific thresholds. Such work is essential to move toward pediatric-optimized imaging strategies.

## Limiations of the Review Process

This scoping review presents several limitations inherent to its methodology and scope. First, although the literature search was extensive and included articles from 2019 onward, the review was limited to studies published in the past five years. While this decision was made to capture the most recent technological advances and clinical practices, it may have led to the exclusion of earlier studies that could still hold relevant data, especially for established modalities like CAP.

Second, while the search strategy was designed to be comprehensive, some relevant articles may not have been identified due to variations in terminology or indexing in the databases searched. Additionally, the screening and data extraction processes, although systematic, were conducted by a single reviewer, which may introduce subjectivity and increase the risk of selection bias.

Third, while all studies that quantitatively assessed hepatic steatosis using ultrasound-based modalities were included, we deliberately chose to focus our analysis on non-CAP techniques. Sixteen studies using CAP exclusively were included and screened but were not analyzed in detail in this review. This decision was motivated by the extensive existing literature on CAP and our aim to highlight underexplored modalities such as UDFF, ATI, ATT/SWM, and QUS. As such, this focus may limit the comparative breadth of the review but was intended to fill a specific gap in pediatric imaging research.

Fourth, the heterogeneity in study designs, population characteristics, and reference standards (e.g., MRI-PDFF, liver stiffness, or biomarkers) across the included studies limits the comparability of diagnostic performances. For instance, studies using liver enzymes as comparators (e.g., Wang et al., 2023) exhibit lower methodological rigor compared to those employing MRI-PDFF, which is widely regarded as the non-invasive gold standard for quantifying hepatic steatosis in pediatric populations (Noureddin et al., 2020; ref. 3). This variability introduces classification bias and precludes a uniform assessment of sensitivity and specificity for the modalities under investigation.

Finally, the number of included studies for each non-CAP modality remained very low, particularly for UDFF, ATI, and QUS, preventing definitive conclusions on their clinical utility or superiority. Most studies were monocentric and exploratory in nature, and pediatric validation of these tools remains insufficient. Thus, the present review provides a mapping of the existing landscape rather than a conclusive comparative evaluation.

Despite these limitations, this review applied a transparent and systematic approach to mapping of current quantitativ ultrasound techniques in steatosis in children.

Clinical and research implication

For Clinicians

The findings of this review underscore the need to select quantitative ultrasound tools tailored to pediatric contexts, where technical constraints and anatomical variability differ from adults (Bulakci et al., 2023; Kim et al., 2022). While the Controlled Attenuation Parameter (CAP) is widely available, it has significant limitations for detecting mild-to-moderate steatosis in children, particularly in cases of concomitant fibrosis or high BMI (Petroff et al., 2021; Runge et al., 2021) (refs. 23, 10). Emerging modalities such as Ultrasound-Derived Fat Fraction (UDFF) and Attenuation Imaging (ATI) show promise due to their strong correlation with MRI-PDFF (ICC > 0.90 for UDFF) and ability to provide direct hepatic fat quantification (Rubesova et al., 2023; Bulakci et al., 2023) (refs. 14, 18). However, their routine clinical use remains limited by a lack of multicenter validation and absence of pediatric-specific thresholds (Dardanelli et al., 2023; Kim et al., 2022) (refs. 35, 13). Until further data are available, clinicians may consider these tools for longitudinal monitoring of children at risk for NAFLD/MAFLD, in conjunction with clinical and biochemical markers (Alves et al., 2023) (ref. 9).

Furthermore, technical feasibility must be considered in pediatric ultrasound. For example, ATI demonstrated a 20.7% technical failure rate in younger or leaner children due to challenges in region-of-interest (ROI) placement (Bulakci et al., 2023) (ref. 18). These challenges highlight the need for adapted protocols, such as pediatric probes and operator training, to optimize measurement reproducibility (Dardanelli et al., 2023) (ref. 35).

For Researchers

This review identifies several critical gaps in the pediatric quantitative ultrasound literature, offering priority research avenues:

- Multicenter validation of emerging tools
Prospective comparative studies are needed to evaluate the diagnostic performance of UDFF, ATI, and other QUS modalities in diverse pediatric cohorts (e.g., obese, diabetic, or metabolically compromised children). These studies should use MRI-PDFF as a reference standard and include analyses of inter-operator and inter-equipment reproducibility (Noureddin et al., 2020; Rubesova et al., 2023) (refs. 3, 14).

- Development of pediatric-specific thresholds
Current thresholds for CAP and other modalities are primarily derived from adult studies. Research is needed to establish age-, sex-, and BMI-adjusted cutoffs for children, accounting for physiological variations in hepatic composition (Runge et al., 2021; Kim et al., 2022) (refs. 10, 13).

- Feasibility and acceptability assessments
Few studies have evaluated exam duration, sedation requirements, or child tolerance for quantitative ultrasound.
Simplified protocols (e.g., reduced mesurement repetitions) could improve acceptability without compromising accuracy (Bulakci et al., 2023; Dardanelli et al., 2023) (refs. 18, 35).

- Integration of artificial intelligence (Al)
AI has the potential to enhance standardization by automating critical steps, such as region-of-interest (ROI) placement or artifact correction in pediatric ultrasound. While pediatric-specific studies remain scarce, preliminary work in advanced ultrasound imaging—such as envelope statistics or automated image analysis—suggests promising avenues for improving measurement reproducibility and accuracy (Hsieh et al., 2023) (ref. 14). These approaches could transform clinical practice by reducing inter-operator variability, though dedicated pediatric validation studies are needed to confirm their utility.

- Cost-effectiveness analyses
No studies have compared the cost-effectiveness of quantitative ultrasound modalities in pediatrics. Economic evaluations are essential to guide clinical recommendations, particularly in resource-limited settings.

Finally, this review highlights the importance of international collaborations to harmonize protocols and share data.

Initiatives such as the NAFLD Pediatric Database or European research networks (e.g., EASL-Lancet Liver Commission) could play a pivotal role in standardizing pratices (Chacón et al., 2023) (ref. 16).

## Conclusion

In conclusion, while CAP remains the most frequently studied quantitative ultrasound method for pediatric hepatic steatosis, alternative techniques such as UDFF and Attenuation Imaging show promising diagnostic potential. Their underrepresentation highlights a significant imbalance in current research. Efforts should be made to foster diversification of approaches, standardization of thresholds, and comparative validation studies in order to better adapt steatosis imaging to the specific needs of pediatric patients.

## Tables and Figures

### Figure1: PRISMA Diagram

Records removed before screening:

Duplicate records removed  (n = 48)

Records removed because <2019 (n = 95)

Records identified from*:

Databases (n = 418)

Registers (n = 0)

Identification of studies via databases and registers

Identification

Records screened

(n = 275)

Records excluded because of the title (n = 81)

Records excluded because non pediatric (n = 71)

Reports excluded because they didn’t used US techniques (n = 40)

Editorial or correction or guideline (n = 5)

Reports excluded:

Non quantitative (n = 39)

Descriptive article or Systematic Review (n = 8)

Studies included in review

(n = 20)

Reports of included studies

(n = 20)

Screening

Included

Reports assessed for eligibility

(n = 78)

Records screened

(n = 31)

Reports excluded:

Fibrosis measure (n = 8)

Descriptive article (n =2)

No article found (n = 1)

### Table 2 : Inclusion & Exclusion criteria

| Inclusion criteria | • Pediatric population exclusively (<18 years). Studies with mixed-age populations (including participants ≥18 years) will be excluded. • Non-invasive ultrasound-based imaging modalities specifically developed for quantitative assessment of hepatic steatosis were included. These comprise, but are not limited to : CAP, UDFF, ATI and QUS. • Studies specifically addressing NASH/NAFLD/MAFLD, regardless of whether the aim is to quantify the disease, screen for it, or both. • Studies must report a quantitative measurement of hepatic steatosis, performed using an ultrasound-based method (e.g., dB/m, percentage fat fraction, attenuation coefficient). • No language restrictions will be applied at this stage. (À revoir en fonction quantité source + justifier pourquoi) • Studies published from 2019 to the present. |
| --- | --- |
| Exclusion criteria | • Studies including participants aged 18 years or older, or those with mixed-age populations. • Studies that do not employ an ultrasound-based imaging modality. • Studies that do not focus on NASH/NAFLD/MAFLD. • Studies not reporting any quantitative ultrasound-based measurement of hepatic steatosis (e.g., those focusing exclusively on fibrosis or using qualitative ultrasound only). • Descriptive articles, literature reviews, guideline documents, or protocols.. • Editorials, letters to the editor, and comments without original clinical or technical data.. |

### Table 3. Literaure search

| Ref. | Country | Type of measure | Manufacture | Units | Value normal | Value abdnormal | Comparator | Age (years) | N | Date | Last author |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 62 | Taiwan | QUS Fibroscan | N/A | KPa | <=5kPa | >5kPa | N/A | 3-18 | 173 | 2023 | Po-Hsiang Tsui |
| 11 | Italy | QUS Hepato-Renal Index with automated region of interest recommendation (EzHRI), Tissue Attenuation Imaging (TAI), and Tissue Scatter Distribution Imaging (TSI) | Samsung medison | Different units | Normal values are TAI < 0.625, TSI < 91.95, and EzHRI < 1.215. | Abnormal values are TAI ≥ 0.625, TSI ≥ 91.95, and EzHRI ≥ 1.215. | MRI PDFF | <18 | 36 | 2023 | Vito Cantisani |
| 74 | Turkey quantitative | ATI (ultrasound atténuation Imaging) | Canon | DB/cm/MHz | <0,65 dB/cm/MHz | >=0,65 dB/cm/MHz | MRI PDFF | 9-18 | 140 | 2023 | Artur Salmaslioglu |
| 14 | USA Quantitative | Ultrasound derived fat fraction (UDFF) | Siemens healthineers | % | UDFF < 6% | UDFF > 6% | MRI-PDFF | 7-18 | 46 | 2023 | Rubesova Erika |
| 46 | China | ATT SWM | ATT : dB/cm/MHz SWM : m/s | Arietta 850 (Hitachi Medical) | NR | NR | Liver enzymes | 5–18 | 62 | 2023 | X. Wu |
| 35 | Argentina | Ultrasound Attenuation Imaging | Canon Medical Systems | dB/cm/MHz | N/A | N/A | N/A | 6-18 | 174 | 2023 | Julio S. Kaplan |

## References :

1.

Polti G, Frigerio F, Del Gaudio G, Pacini P, Dolcetti V, Renda M, et al. Quantitative ultrasound fatty liver evaluation in a pediatric population: comparison with magnetic resonance imaging of liver proton density fat fraction. Pediatr Radiol. 2023 Nov;53(12):2458–65.

2.

Lee YS, Song SH, Wu TC, Wu SL, Huang CF. Correlation of hepatic transient elastography measurements and abdominal adiposity in children: A cross-sectional study. Pediatr Neonatol. 2023 Nov;64(6):631–6.

3.

Zalcman M, Barth RA, Rubesova E. Real-time ultrasound-derived fat fraction in pediatric population: feasibility validation with MR-PDFF. Pediatr Radiol. 2023 Nov;53(12):2466–75.

4.

Clinical research of fibroscan ‒ TE-CAP at noninvasive diagnosis of hepatic steatosis in children - ScienceDirect [Internet]. 2024 [cited 2024 Dec 9]. Available from: https://www.sciencedirect.com/science/article/pii/S1807593224000644?via%3Dihub

5.

Kara O, Arsoy HA, Keskin M. Relationship between nonalcoholic fatty liver disease and hyperandrogenemia in adolescents with polycystic ovary syndrome. Clin Exp Pediatr. 2023 Sep;66(9):395–402.

6.

Yang A, Jung N, Kim S, Lee JE. Association Between Non-invasive Diagnostic Methods of Liver Fibrosis and Type 2 Diabetes in Pediatric Patients With Non-alcoholic Fatty Liver Disease. Front Pediatr. 2022;10:825141.

7.

PARVB and HSD17B13 variants are associated with nonalcoholic fatty liver disease in children - Lee - 2024 - Journal of Gastroenterology and Hepatology - Wiley Online Library [Internet]. 2024 [cited 2024 Dec 9]. Available from: https://onlinelibrary.wiley.com/doi/10.1111/jgh.16521

8.

Dardanelli EP, Orozco ME, Oliva V, Lutereau JF, Ferrari FA, Bravo MG, et al. Ultrasound attenuation imaging: a reproducible alternative for the noninvasive quantitative assessment of hepatic steatosis in children. Pediatr Radiol. 2023 Jul;53(8):1618–28.

9.

P. V. Alves V, T. Trout A, Dewit M, Mouzaki M, Arce-Clachar AC, S. Bramlage K, et al. Clinical Performance of Transient Elastography With Comparison to Quantitative Magnetic Resonance Imaging, Ultrasound, and Biopsy in Children and Adolescents With Known or Suspected Fatty Liver Disease. Child Obes. 2023 Oct;19(7):461–9.

10.

Runge JH, van Giessen J, Draijer LG, Deurloo EE, Smets A, Benninga MA, et al. Accuracy of controlled attenuation parameter compared with ultrasound for detecting hepatic steatosis in children with severe obesity. Eur Radiol. 2021 Mar;31(3):1588–96.

11.

Wang J, Wang J, Wang H, Li B, Wang Y, Sun L, et al. Application of attenuation coefficient in the assessment of hepatic involvement in children and adolescents with Wilson’s disease. BMC Med Imaging. 2023 Feb 4;23(1):24.

12.

Tang M, Liu M, Zhang Y, Xie R. Association of family income to poverty ratio and vibration-controlled transient elastography quantified degree of hepatic steatosis in U.S. adolescents. Front Endocrinol (Lausanne). 2023;14:1160625.

13.

Kim PH, Cho YA, Yoon HM, Bak B, Lee JS, Jung AY, et al. Accuracy of attenuation imaging in the assessment of pediatric hepatic steatosis: correlation with the controlled attenuation parameter. Ultrasonography. 2022 Oct;41(4):761–9.

14.

Hsieh CS, Lai MW, Chen CC, Chao HC, Wang CY, Wan YL, et al. Quantitative ultrasound envelope statistics imaging as a screening approach for pediatric hepatic steatosis and liver fibrosis: using biomarker and transient elastography as reference standards. Heliyon. 2023 Dec;9(12):e22743.

15.

Arsoy HA, Kara Ö, Keskin M. The evaluation of non-alcoholic fatty liver disease in children with obesity with vibration-controlled transient elastography. Journal of Clinical Ultrasound [Internet]. 2024 Jul [cited 2024 Dec 14];52(6):723–30. Available from: https://onlinelibrary.wiley.com/doi/10.1002/jcu.23698

16.

Chacón C, Arteaga I, Martínez-Escudé A, Ruiz Rojano I, Lamonja-Vicente N, Caballeria L, et al. Clinical epidemiology of non-alcoholic fatty liver disease in children and adolescents. The LiverKids: Study protocol. PLoS One. 2023;18(10):e0286586.

17.

Rose PC, Cotton MF, Otwombe K, Innes S, Nel ED. Liver transient elastography values in healthy South African children. BMC Pediatr. 2023 Jul 13;23(1):355.

18.

Bulakci M, Ercan CC, Karapinar E, Aksakal MZT, Aliyev S, Bicen F, et al. Quantitative evaluation of hepatic steatosis using attenuation imaging in a pediatric population: a prospective study. Pediatr Radiol. 2023 Jul;53(8):1629–39.

19.

Hwang SM, Cho KY. Noninvasive assessment of paediatric hepatic steatosis by using attenuation imaging. Eur Radiol. 2023 Nov;33(11):8353–65.

20.

Use of transient elastography to assess hepatic steatosis and fibrosis in patients with juvenile idiopathic arthritis during methotrexate treatment | Clinical Rheumatology [Internet]. 2024 [cited 2024 Dec 9]. Available from: https://link.springer.com/article/10.1007/s10067-023-06835-x

21.

Anderson EL, Howe LD, Jones HE, Higgins JP, Lawlor DA, Fraser A. The Prevalence of Non-Alcoholic Fatty Liver Disease in Children and Adolescents: A Systematic Review and Meta-Analysis. PLoS One. 2015;10(10):e0140908. doi:10.1371/journal.pone.0140908.

22.

Tricco AC, Lillie E, Zarin W, O’Brien KK, Colquhoun H, Levac D, Moher D, Peters MDJ, Horsley T, Weeks L, Hempel S, Akl EA, Chang C, McGowan J, Stewart L, Hartling L, Aldcroft A, Wilson MG, Garritty C, Lewin S, Godfrey CM, Macdonald MT, Langlois EV, Soares-Weiser K, Moriarty J, Clifford T, Tuncalp Ӧ, Straus SE. PRISMA Extension for Scoping Reviews (PRISMA-ScR): checklist and explanation. Ann Intern Med. 2018 Oct 2;169(7):467–73. doi:10.7326/M18-0850.

23.

Petroff D, Blank V, Newsome PN, Shalimar, Voican CS, Thiele M, de Lédinghen V, Baumeler S, Chan WK, Perlemuter G et al. Assessment of hepatic steatosis by controlled attenuation parameter using the M and XL probes: an individual patient data meta-analysis. Lancet Gastroenterol Hepatol. 2021 Mar;6(3):185–98. doi:10.1016/S2468-1253(20)30357-5.

24.

Sterling RK, Duarte-Rojo A, Patel K, Asrani SK, Alsawas M, Dranoff JA, Fiel MI, Murad MH, Leung DH, Levine D, Taddei TH, Taouli B, Rockey DC. AASLD practice guideline on imaging-based noninvasive liver disease assessment of hepatic fibrosis and steatosis. Hepatology. 2025 Feb;81(2):672–724. doi:10.1097/HEP.0000000000000843.